SPARE PARTS LIST OF D10

| N0. | # CODE | # NAME | MATERIAL | REMARK |
| --- | --- | --- | --- | --- |
| 01 | D3.01 | TOP | FOAMED STAINLESS |  |
| 02 | D3.02 | HINGE FIXED BOARD | STEEL |  |
| 03 | GN650TN.48 | DOOR SWITCH |  |  |
| 04 | D10.04 | BODY BACK COVER | ZINC |  |
| 05 | D10.05 | BODY |  |  |
| 06 | GN2100TN.06 | DOOR HINGE AXIS | STAINLESS |  |
| 07 | S900.47 | PLUG |  |  |
| 08 | D10.08 | UNIT ROOM GRILL |  |  |
| 09 | D10.09 | BACK SUPPORT | STAINLESS |  |
| 10 | D3.10 | GUIDE | STAINLESS |  |
| 11 | D10.11 | FRONT SUPPORT | STAINLESS |  |
| 12 | D3.12 | DOOR SWITCH CUSHION |  |  |
| 13 | D10.13 | GASKET | PLASTIC |  |
| 14 | D10.14 | DOOR | FOAMED STAINLESS |  |
| 15 | GN650TN.10 | DOWN HINGE AXIS JACKET | PLASTIC |  |
| 16 | GN650TN.14 | DOOR SPRING HINGE |  |  |
| 17 | D3.17 | DOOR HINGE | STAINLESS |  |
| 18 | GN650TN.01 | SUPPORT TRAY NUT |  |  |
| 19 | GN650TN.07N | FEET | STAINLESS |  |
| 20 | D3.20 | UNIT SUPPORT BOARD | STEEL |  |
| 21 | D3.21 | WATER BOX GUIDE | STAINLESS |  |
| 22 | GN1200TN.10 | WATER BOX | PLASTIC |  |
| 23 | D3.23 | GUIDE | STAINLESS |  |
| 24 | D10.24 | SOLENOID VALVE |  |  |
| N0. | # CODE | # NAME | MATERIAL | REMARK |
| 25 | D10.25 | SOLENOID VALVE FIXED CLIP | STAINLESS |  |
| 26 | D3.25 | FILTER DRIER |  |  |
| 27 | D3.26 | THERMOSTATIC EXPANSION VALVE |  |  |
| 28 | S903 | WATER PAN SUPPORT | ZINC |  |
| 29 | S900.40A | WATER PAN | PLASTIC |  |
| 30 | D3.28 | RECEIVER AND ACCUMULATOR |  |  |
| 31 | D10.31 | DISCHARGE PIPE | COPPER |  |
| 32 | D10.32 | CONDENSER |  |  |
| 33 | D3.33 | CONDENSER FAN |  |  |
| 34 | GN650BT.10 | BASKET GUARD GRILLS | COATED STEEL |  |
| 35 | D10.35 | COMPRESSOR |  |  |
| 36 | 27R | PIPE FIXED CLIP | STEEL |  |
| 37 | D420D.55 | AC CONTACTOR | STAINLESS |  |
| 38 | D10.38 | FRONT PANEL | STAINLESS |  |
| 39 | D3.38 | THERMOSTAT |  |  |
| 40 | D3.39 | THERMOSTAT COVER | STAINLESS |  |
| 41 |  |  |  |  |
| 42 | D10.42 | FAN FIXED BOARD | STEEL |  |
| 43 | S900.31 | SENSOR FIXED CLIP | STEEL |  |
| 44 | GN650TN.17 | PROBE PADDING | STEEL |  |
| 45 | S900.32 | SENSOR |  |  |
| 46 | D5.44 | CIRCUIT FAN |  |  |
| 47 | D5.45 | AIRFLOW CONDUCT BOARD | ALUMINIUM |  |
| 48 | D3.47 | WATER PAN SUPPORT | STEEL |  |
| 49 | D3.48 | HEAT PRESERVATION FOAM | PLASTIC |  |
| 50 | D5.48 | CIRCUIT FAN SUPPORT | STAINLESS |  |
| N0. | # CODE | # NAME | MATERIAL | REMARK |
| 51 | D3.47 | HEATER 400*155*5mm |  |  |
| 52 | D10.52 | DRAIN HEATER |  |  |
| 53 | D10.53 | EVAPORATOR |  |  |
| 54 | S900.32 | SENSOR |  |  |
| 55 | D3.51 | INSERT SENSOR |  |  |
| 56 | D10.56 | MAGNETIC STRIPE( A)(LEFT/RIGHT) |  |  |
| 57 | D3.55 | MAGNETIC STRIPE( B) (UP/DOWN) |  |  |
| 58 | D10.58 | HEATING ELEMENT |  |  |
| 59 | D3.55 | SEALING RING | PLASTIC |  |
| 60 | D3.56 | DRAIN PIPE COVER | PLASTIC |  |